## Raw "Dummy" TPD
Example of Dummy TPD for the determination of sensitivity factors for acetaldehyde
Experiment:
1. Leak 3E-8 Torr acetaldehyde
2. Run TPD program, following 29, 43 and 44 amu (there is no need to clean, cool, or heat the sample, the T value is not needed)
3. Increase acetaldehyde pressure to 7E-8 Torr after 10 s
4. Increase acetaldehyde pressure to 2E-7 Torr after 20 s
5. Stop after 30 s
0.1 | Delta t/s | (time between points)
Intensities
time/s | T/K | 29amu | 43amu | 44amu
0 | 100.9 | 0.075 | 0.04 | 0.052
0.1 | 100.9 | 0.075 | 0.04 | 0.052
0.2 | 100.9 | 0.075 | 0.04 | 0.052
0.3 | 100.9 | 0.075 | 0.04 | 0.052
0.4 | 100.9 | 0.075 | 0.04 | 0.052
0.5 | 100.9 | 0.075 | 0.04 | 0.052
0.6 | 100.9 | 0.075 | 0.04 | 0.052
0.7 | 100.9 | 0.075 | 0.04 | 0.052
0.8 | 100.9 | 0.075 | 0.04 | 0.052
0.9 | 100.9 | 0.075 | 0.04 | 0.052
1 | 100.9 | 0.075 | 0.04 | 0.052
1.1 | 100.9 | 0.075 | 0.04 | 0.052
1.2 | 100.9 | 0.075 | 0.04 | 0.052
1.3 | 100.9 | 0.075 | 0.04 | 0.052
1.4 | 100.9 | 0.075 | 0.04 | 0.052
1.5 | 100.9 | 0.075 | 0.04 | 0.052
1.6 | 100.9 | 0.075 | 0.04 | 0.052
1.7 | 100.9 | 0.075 | 0.04 | 0.052
1.8 | 100.9 | 0.075 | 0.04 | 0.052
1.9 | 100.9 | 0.075 | 0.04 | 0.052
2 | 100.9 | 0.075 | 0.04 | 0.052
2.1 | 100.9 | 0.075 | 0.04 | 0.052
2.2 | 100.9 | 0.075 | 0.04 | 0.052
2.3 | 100.9 | 0.075 | 0.04 | 0.052
2.4 | 100.9 | 0.075 | 0.04 | 0.052
2.5 | 100.9 | 0.075 | 0.04 | 0.052
2.6 | 100.9 | 0.075 | 0.04 | 0.052
2.7 | 100.9 | 0.075 | 0.04 | 0.052
2.8 | 100.9 | 0.075 | 0.04 | 0.052
2.9 | 100.9 | 0.075 | 0.04 | 0.052
3 | 100.9 | 0.075 | 0.04 | 0.052
3.1 | 100.9 | 0.075 | 0.04 | 0.052
3.2 | 100.9 | 0.075 | 0.04 | 0.052
3.3 | 100.9 | 0.075 | 0.04 | 0.052
3.4 | 100.9 | 0.075 | 0.04 | 0.052
3.5 | 100.9 | 0.075 | 0.04 | 0.052
3.6 | 100.9 | 0.075 | 0.04 | 0.052
3.7 | 100.9 | 0.075 | 0.04 | 0.052
3.8 | 100.9 | 0.075 | 0.04 | 0.052
3.9 | 100.9 | 0.075 | 0.04 | 0.052
4 | 100.9 | 0.075 | 0.04 | 0.052
4.1 | 100.9 | 0.075 | 0.04 | 0.052
4.2 | 100.9 | 0.075 | 0.04 | 0.052
4.3 | 100.9 | 0.075 | 0.04 | 0.052
4.4 | 100.9 | 0.075 | 0.04 | 0.052
4.5 | 100.9 | 0.075 | 0.04 | 0.052
4.6 | 100.9 | 0.075 | 0.04 | 0.052
4.7 | 100.9 | 0.075 | 0.04 | 0.052
4.8 | 100.9 | 0.075 | 0.04 | 0.052
4.9 | 100.9 | 0.075 | 0.04 | 0.052
5 | 100.9 | 0.075 | 0.04 | 0.052
5.1 | 100.9 | 0.075 | 0.04 | 0.052
5.2 | 100.9 | 0.075 | 0.04 | 0.052
5.3 | 100.9 | 0.075 | 0.04 | 0.052
5.4 | 100.9 | 0.075 | 0.04 | 0.052
5.5 | 100.9 | 0.075 | 0.04 | 0.052
5.6 | 100.9 | 0.075 | 0.04 | 0.052
5.7 | 100.9 | 0.075 | 0.04 | 0.052
5.8 | 100.9 | 0.075 | 0.04 | 0.052
5.9 | 100.9 | 0.075 | 0.04 | 0.052
6 | 100.9 | 0.075 | 0.04 | 0.052
6.1 | 100.9 | 0.075 | 0.04 | 0.052
6.2 | 100.9 | 0.075 | 0.04 | 0.052
6.3 | 100.9 | 0.075 | 0.04 | 0.052
6.4 | 100.9 | 0.075 | 0.04 | 0.052
6.5 | 100.9 | 0.075 | 0.04 | 0.052
6.6 | 100.9 | 0.075 | 0.04 | 0.052
6.7 | 100.9 | 0.075 | 0.04 | 0.052
6.8 | 100.9 | 0.075 | 0.04 | 0.052
6.9 | 100.9 | 0.075 | 0.04 | 0.052
7 | 100.9 | 0.075 | 0.04 | 0.052
7.1 | 100.9 | 0.075 | 0.04 | 0.052
7.2 | 100.9 | 0.075 | 0.04 | 0.052
7.3 | 100.9 | 0.075 | 0.04 | 0.052
7.4 | 100.9 | 0.075 | 0.04 | 0.052
7.5 | 100.9 | 0.075 | 0.04 | 0.052
7.6 | 100.9 | 0.075 | 0.04 | 0.052
7.7 | 100.9 | 0.075 | 0.04 | 0.052
7.8 | 100.9 | 0.075 | 0.04 | 0.052
7.9 | 100.9 | 0.075 | 0.04 | 0.052
8 | 100.9 | 0.075 | 0.04 | 0.052
8.1 | 100.9 | 0.075 | 0.04 | 0.052
8.2 | 100.9 | 0.075 | 0.04 | 0.052
8.3 | 100.9 | 0.075 | 0.04 | 0.052
8.4 | 100.9 | 0.075 | 0.04 | 0.052
8.5 | 100.9 | 0.075 | 0.04 | 0.052
8.6 | 100.9 | 0.075 | 0.04 | 0.052
8.7 | 100.9 | 0.075 | 0.04 | 0.052
8.8 | 100.9 | 0.075 | 0.04 | 0.052
8.9 | 100.9 | 0.075 | 0.04 | 0.052
9 | 100.9 | 0.075 | 0.04 | 0.052
9.1 | 100.9 | 0.075 | 0.04 | 0.052
9.2 | 100.9 | 0.075 | 0.04 | 0.052
9.3 | 100.9 | 0.075 | 0.04 | 0.052
9.4 | 100.9 | 0.075 | 0.04 | 0.052
9.5 | 100.9 | 0.075 | 0.04 | 0.052
9.6 | 100.9 | 0.075 | 0.04 | 0.052
9.7 | 100.9 | 0.075 | 0.04 | 0.052
9.8 | 100.9 | 0.075 | 0.04 | 0.052
9.9 | 100.9 | 0.075 | 0.04 | 0.052
10 | 100.9 | 0.075 | 0.04 | 0.052
10.1 | 100.9 | 0.215 | 0.088 | 0.148
10.2 | 100.9 | 0.215 | 0.088 | 0.148
10.3 | 100.9 | 0.215 | 0.088 | 0.148
10.4 | 100.9 | 0.215 | 0.088 | 0.148
10.5 | 100.9 | 0.215 | 0.088 | 0.148
10.6 | 100.9 | 0.215 | 0.088 | 0.148
10.7 | 100.9 | 0.215 | 0.088 | 0.148
10.8 | 100.9 | 0.215 | 0.088 | 0.148
10.9 | 100.9 | 0.215 | 0.088 | 0.148
11 | 100.9 | 0.215 | 0.088 | 0.148
11.1 | 100.9 | 0.215 | 0.088 | 0.148
11.2 | 100.9 | 0.215 | 0.088 | 0.148
11.3 | 100.9 | 0.215 | 0.088 | 0.148
11.4 | 100.9 | 0.215 | 0.088 | 0.148
11.5 | 100.9 | 0.215 | 0.088 | 0.148
11.6 | 100.9 | 0.215 | 0.088 | 0.148
11.7 | 100.9 | 0.215 | 0.088 | 0.148
11.8 | 100.9 | 0.215 | 0.088 | 0.148
11.9 | 100.9 | 0.215 | 0.088 | 0.148
12 | 100.9 | 0.215 | 0.088 | 0.148
12.1 | 100.9 | 0.215 | 0.088 | 0.148
12.2 | 100.9 | 0.215 | 0.088 | 0.148
12.3 | 100.9 | 0.215 | 0.088 | 0.148
12.4 | 100.9 | 0.215 | 0.088 | 0.148
12.5 | 100.9 | 0.215 | 0.088 | 0.148
12.6 | 100.9 | 0.215 | 0.088 | 0.148
12.7 | 100.9 | 0.215 | 0.088 | 0.148
12.8 | 100.9 | 0.215 | 0.088 | 0.148
12.9 | 100.9 | 0.215 | 0.088 | 0.148
13 | 100.9 | 0.215 | 0.088 | 0.148
13.1 | 100.9 | 0.215 | 0.088 | 0.148
13.2 | 100.9 | 0.215 | 0.088 | 0.148
13.3 | 100.9 | 0.215 | 0.088 | 0.148
13.4 | 100.9 | 0.215 | 0.088 | 0.148
13.5 | 100.9 | 0.215 | 0.088 | 0.148
13.6 | 100.9 | 0.215 | 0.088 | 0.148
13.7 | 100.9 | 0.215 | 0.088 | 0.148
13.8 | 100.9 | 0.215 | 0.088 | 0.148
13.9 | 100.9 | 0.215 | 0.088 | 0.148
14 | 100.9 | 0.215 | 0.088 | 0.148
14.1 | 100.9 | 0.215 | 0.088 | 0.148
14.2 | 100.9 | 0.215 | 0.088 | 0.148
14.3 | 100.9 | 0.215 | 0.088 | 0.148
14.4 | 100.9 | 0.215 | 0.088 | 0.148
14.5 | 100.9 | 0.215 | 0.088 | 0.148
14.6 | 100.9 | 0.215 | 0.088 | 0.148
14.7 | 100.9 | 0.215 | 0.088 | 0.148
14.8 | 100.9 | 0.215 | 0.088 | 0.148
14.9 | 100.9 | 0.215 | 0.088 | 0.148
15 | 100.9 | 0.215 | 0.088 | 0.148
15.1 | 100.9 | 0.215 | 0.088 | 0.148
15.2 | 100.9 | 0.215 | 0.088 | 0.148
15.3 | 100.9 | 0.215 | 0.088 | 0.148
15.4 | 100.9 | 0.215 | 0.088 | 0.148
15.5 | 100.9 | 0.215 | 0.088 | 0.148
15.6 | 100.9 | 0.215 | 0.088 | 0.148
15.7 | 100.9 | 0.215 | 0.088 | 0.148
15.8 | 100.9 | 0.215 | 0.088 | 0.148
15.9 | 100.9 | 0.215 | 0.088 | 0.148
16 | 100.9 | 0.215 | 0.088 | 0.148
16.1 | 100.9 | 0.215 | 0.088 | 0.148
16.2 | 100.9 | 0.215 | 0.088 | 0.148
16.3 | 100.9 | 0.215 | 0.088 | 0.148
16.4 | 100.9 | 0.215 | 0.088 | 0.148
16.5 | 100.9 | 0.215 | 0.088 | 0.148
16.6 | 100.9 | 0.215 | 0.088 | 0.148
16.7 | 100.9 | 0.215 | 0.088 | 0.148
16.8 | 100.9 | 0.215 | 0.088 | 0.148
16.9 | 100.9 | 0.215 | 0.088 | 0.148
17 | 100.9 | 0.215 | 0.088 | 0.148
17.1 | 100.9 | 0.215 | 0.088 | 0.148
17.2 | 100.9 | 0.215 | 0.088 | 0.148
17.3 | 100.9 | 0.215 | 0.088 | 0.148
17.4 | 100.9 | 0.215 | 0.088 | 0.148
17.5 | 100.9 | 0.215 | 0.088 | 0.148
17.6 | 100.9 | 0.215 | 0.088 | 0.148
17.7 | 100.9 | 0.215 | 0.088 | 0.148
17.8 | 100.9 | 0.215 | 0.088 | 0.148
17.9 | 100.9 | 0.215 | 0.088 | 0.148
18 | 100.9 | 0.215 | 0.088 | 0.148
18.1 | 100.9 | 0.215 | 0.088 | 0.148
18.2 | 100.9 | 0.215 | 0.088 | 0.148
18.3 | 100.9 | 0.215 | 0.088 | 0.148
18.4 | 100.9 | 0.215 | 0.088 | 0.148
18.5 | 100.9 | 0.215 | 0.088 | 0.148
18.6 | 100.9 | 0.215 | 0.088 | 0.148
18.7 | 100.9 | 0.215 | 0.088 | 0.148
18.8 | 100.9 | 0.215 | 0.088 | 0.148
18.9 | 100.9 | 0.215 | 0.088 | 0.148
19 | 100.9 | 0.215 | 0.088 | 0.148
19.1 | 100.9 | 0.215 | 0.088 | 0.148
19.2 | 100.9 | 0.215 | 0.088 | 0.148
19.3 | 100.9 | 0.215 | 0.088 | 0.148
19.4 | 100.9 | 0.215 | 0.088 | 0.148
19.5 | 100.9 | 0.215 | 0.088 | 0.148
19.6 | 100.9 | 0.215 | 0.088 | 0.148
19.7 | 100.9 | 0.215 | 0.088 | 0.148
19.8 | 100.9 | 0.215 | 0.088 | 0.148
19.9 | 100.9 | 0.215 | 0.088 | 0.148
20 | 100.9 | 0.215 | 0.088 | 0.148
20.1 | 100.9 | 0.755 | 0.278 | 0.48
20.2 | 100.9 | 0.755 | 0.278 | 0.48
20.3 | 100.9 | 0.755 | 0.278 | 0.48
20.4 | 100.9 | 0.755 | 0.278 | 0.48
20.5 | 100.9 | 0.755 | 0.278 | 0.48
20.6 | 100.9 | 0.755 | 0.278 | 0.48
20.7 | 100.9 | 0.755 | 0.278 | 0.48
20.8 | 100.9 | 0.755 | 0.278 | 0.48
20.9 | 100.9 | 0.755 | 0.278 | 0.48
21 | 100.9 | 0.755 | 0.278 | 0.48
21.1 | 100.9 | 0.755 | 0.278 | 0.48
21.2 | 100.9 | 0.755 | 0.278 | 0.48
21.3 | 100.9 | 0.755 | 0.278 | 0.48
21.4 | 100.9 | 0.755 | 0.278 | 0.48
21.5 | 100.9 | 0.755 | 0.278 | 0.48
21.6 | 100.9 | 0.755 | 0.278 | 0.48
21.7 | 100.9 | 0.755 | 0.278 | 0.48
21.8 | 100.9 | 0.755 | 0.278 | 0.48
21.9 | 100.9 | 0.755 | 0.278 | 0.48
22 | 100.9 | 0.755 | 0.278 | 0.48
22.1 | 100.9 | 0.755 | 0.278 | 0.48
22.2 | 100.9 | 0.755 | 0.278 | 0.48
22.3 | 100.9 | 0.755 | 0.278 | 0.48
22.4 | 100.9 | 0.755 | 0.278 | 0.48
22.5 | 100.9 | 0.755 | 0.278 | 0.48
22.6 | 100.9 | 0.755 | 0.278 | 0.48
22.7 | 100.9 | 0.755 | 0.278 | 0.48
22.8 | 100.9 | 0.755 | 0.278 | 0.48
22.9 | 100.9 | 0.755 | 0.278 | 0.48
23 | 100.9 | 0.755 | 0.278 | 0.48
23.1 | 100.9 | 0.755 | 0.278 | 0.48
23.2 | 100.9 | 0.755 | 0.278 | 0.48
23.3 | 100.9 | 0.755 | 0.278 | 0.48
23.4 | 100.9 | 0.755 | 0.278 | 0.48
23.5 | 100.9 | 0.755 | 0.278 | 0.48
23.6 | 100.9 | 0.755 | 0.278 | 0.48
23.7 | 100.9 | 0.755 | 0.278 | 0.48
23.8 | 100.9 | 0.755 | 0.278 | 0.48
23.9 | 100.9 | 0.755 | 0.278 | 0.48
24 | 100.9 | 0.755 | 0.278 | 0.48
24.1 | 100.9 | 0.755 | 0.278 | 0.48
24.2 | 100.9 | 0.755 | 0.278 | 0.48
24.3 | 100.9 | 0.755 | 0.278 | 0.48
24.4 | 100.9 | 0.755 | 0.278 | 0.48
24.5 | 100.9 | 0.755 | 0.278 | 0.48
24.6 | 100.9 | 0.755 | 0.278 | 0.48
24.7 | 100.9 | 0.755 | 0.278 | 0.48
24.8 | 100.9 | 0.755 | 0.278 | 0.48
24.9 | 100.9 | 0.755 | 0.278 | 0.48
25 | 100.9 | 0.755 | 0.278 | 0.48
25.1 | 100.9 | 0.755 | 0.278 | 0.48
25.2 | 100.9 | 0.755 | 0.278 | 0.48
25.3 | 100.9 | 0.755 | 0.278 | 0.48
25.4 | 100.9 | 0.755 | 0.278 | 0.48
25.5 | 100.9 | 0.755 | 0.278 | 0.48
25.6 | 100.9 | 0.755 | 0.278 | 0.48
25.7 | 100.9 | 0.755 | 0.278 | 0.48
25.8 | 100.9 | 0.755 | 0.278 | 0.48
25.9 | 100.9 | 0.755 | 0.278 | 0.48
26 | 100.9 | 0.755 | 0.278 | 0.48
26.1 | 100.9 | 0.755 | 0.278 | 0.48
26.2 | 100.9 | 0.755 | 0.278 | 0.48
26.3 | 100.9 | 0.755 | 0.278 | 0.48
26.4 | 100.9 | 0.755 | 0.278 | 0.48
26.5 | 100.9 | 0.755 | 0.278 | 0.48
26.6 | 100.9 | 0.755 | 0.278 | 0.48
26.7 | 100.9 | 0.755 | 0.278 | 0.48
26.8 | 100.9 | 0.755 | 0.278 | 0.48
26.9 | 100.9 | 0.755 | 0.278 | 0.48
27 | 100.9 | 0.755 | 0.278 | 0.48
27.1 | 100.9 | 0.755 | 0.278 | 0.48
27.2 | 100.9 | 0.755 | 0.278 | 0.48
27.3 | 100.9 | 0.755 | 0.278 | 0.48
27.4 | 100.9 | 0.755 | 0.278 | 0.48
27.5 | 100.9 | 0.755 | 0.278 | 0.48
27.6 | 100.9 | 0.755 | 0.278 | 0.48
27.7 | 100.9 | 0.755 | 0.278 | 0.48
27.8 | 100.9 | 0.755 | 0.278 | 0.48
27.9 | 100.9 | 0.755 | 0.278 | 0.48
28 | 100.9 | 0.755 | 0.278 | 0.48
28.1 | 100.9 | 0.755 | 0.278 | 0.48
28.2 | 100.9 | 0.755 | 0.278 | 0.48
28.3 | 100.9 | 0.755 | 0.278 | 0.48
28.4 | 100.9 | 0.755 | 0.278 | 0.48
28.5 | 100.9 | 0.755 | 0.278 | 0.48
28.6 | 100.9 | 0.755 | 0.278 | 0.48
28.7 | 100.9 | 0.755 | 0.278 | 0.48
28.8 | 100.9 | 0.755 | 0.278 | 0.48
28.9 | 100.9 | 0.755 | 0.278 | 0.48
29 | 100.9 | 0.755 | 0.278 | 0.48
29.1 | 100.9 | 0.755 | 0.278 | 0.48
29.2 | 100.9 | 0.755 | 0.278 | 0.48
29.3 | 100.9 | 0.755 | 0.278 | 0.48
29.4 | 100.9 | 0.755 | 0.278 | 0.48
29.5 | 100.9 | 0.755 | 0.278 | 0.48
29.6 | 100.9 | 0.755 | 0.278 | 0.48
29.7 | 100.9 | 0.755 | 0.278 | 0.48
29.8 | 100.9 | 0.755 | 0.278 | 0.48
29.9 | 100.9 | 0.755 | 0.278 | 0.48
30 | 100.9 | 0.755 | 0.278 | 0.48

## Sensitivities
Acetaldehyde |  |  |  | Linear Fits
MS Calibration
29 amu
SUMMARY OUTPUT
Regression Statistics
|  |  |  | Multiple R | 0.99953
|  |  |  | R Square | 0.99905
|  |  |  | Adjusted R Square | 0.99811
|  |  |  | Standard Error | 0.015617
|  |  |  | Observations | 3
ANOVA
[5 empty] | df | SS | MS | F | Significance F
|  |  |  | Regression | 1 | 0.25762 | 0.25762 | 1056.3426 | 0.019581
|  |  |  | Residual | 1 | 0.00024388 | 0.00024388
|  |  |  | Total | 2 | 0.25787
[5 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
|  |  |  | Intercept | -0.055464 | 0.015351 | -3.6131 | 0.1719 | -0.25051 | 0.13959 | -0.25051 | 0.13959
|  |  |  | X Variable 1 | 4037974.6835 | 124239.9313 | 32.5014 | 0.019581 | 2459363.4425 | 5616585.9246 | 2459363.4425 | 5616585.9246
43 amu
SUMMARY OUTPUT
Regression Statistics
|  |  |  | Multiple R | 0.99938
Data |  |  |  | R Square | 0.99877
|  |  |  | Adjusted R Square | 0.99754
Pressure / Torr | 29amu | 43amu | 44amu | Standard Error | 0.0062467
3e-08 | 0.075 | 0.04 | 0.052 | Observations | 3
7e-08 | 0.215 | 0.088 | 0.148
2e-07 | 0.755 | 0.278 | 0.48 | ANOVA
[5 empty] | df | SS | MS | F | Significance F
|  |  |  | Regression | 1 | 0.031644 | 0.031644 | 810.9369 | 0.022346
Calculated Sensitivity Factors |  |  |  | Residual | 1 | 3.9021e-05 | 3.9021e-05
(From the slopes of the plots) |  |  |  | Total | 2 | 0.031683
amu | 29 amu | 43 amu | 44 amu |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
S (V/Torr)= | 4037974.6835 | 1415189.8734 | 2526582.2785 | Intercept | -0.0061857 | 0.0061404 | -1.0074 | 0.49766 | -0.084206 | 0.071835 | -0.084206 | 0.071835
1/S (Torr/V) | 2.4765e-07 | 7.0662e-07 | 3.9579e-07 | X Variable 1 | 1415189.8734 | 49695.9725 | 28.477 | 0.022346 | 783745.377 | 2046634.3698 | 783745.377 | 2046634.3698
RESIDUAL OUTPUT
|  |  |  | Observation | Predicted Y | Residuals | Standard Residuals
|  |  |  | 1 | 0.03627 | 0.00373 | 0.84444
|  |  |  | 2 | 0.092878 | -0.0048776 | -1.1043
|  |  |  | 3 | 0.27685 | 0.0011477 | 0.25983
45 amu
SUMMARY OUTPUT
Regression Statistics
|  |  |  | Multiple R | 0.99993
|  |  |  | R Square | 0.99987
|  |  |  | Adjusted R Square | 0.99973
|  |  |  | Standard Error | 0.0036745
|  |  |  | Observations | 3
ANOVA
[5 empty] | df | SS | MS | F | Significance F
|  |  |  | Regression | 1 | 0.10086 | 0.10086 | 7470.03 | 0.0073655
|  |  |  | Residual | 1 | 1.3502e-05 | 1.3502e-05
|  |  |  | Total | 2 | 0.10087
[5 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
|  |  |  | Intercept | -0.025992 | 0.003612 | -7.1959 | 0.087906 | -0.071886 | 0.019903 | -0.071886 | 0.019903
|  |  |  | X Variable 1 | 2526582.2785 | 29232.925 | 86.4293 | 0.0073655 | 2155144.3394 | 2898020.2175 | 2155144.3394 | 2898020.2175
RESIDUAL OUTPUT
|  |  |  | Observation | Predicted Y | Residuals | Standard Residuals
|  |  |  | 1 | 0.049806 | 0.0021941 | 0.84444
|  |  |  | 2 | 0.15087 | -0.0028692 | -1.1043
|  |  |  | 3 | 0.47932 | 0.00067511 | 0.25983

## Mass Spectrum
Mass spectrum, acetaldehyde
amu | Raw | Background | Difference
1 | 0.057631 | 0.056166 | 0.001465
1.25 | 0.24371 | 0.11868 | 0.12503
1.5 | 0.24274 | 0.11771 | 0.12503
1.75 | 0.23883 | 0.12259 | 0.11624
2 | 0.20855 | 0.099634 | 0.10891
2.25 | 0.19976 | 0.079609 | 0.12015
2.5 | 0.016606 | 0.010745 | 0.005861
2.75 | 0.014652 | 0.020024 | -0.005372
3 | 0.015629 | 0.016606 | -0.000977
3.25 | 0.011233 | 0.016606 | -0.005373
3.5 | 0.008791 | 0.010256 | -0.001465
3.75 | 0.003419 | 0.020513 | -0.017094
4 | 0.010256 | 0.013675 | -0.003419
4.25 | 0.013187 | 0.010745 | 0.002442
4.5 | 0.01221 | 0.014652 | -0.002442
4.75 | 0.00928 | 0.007326 | 0.001954
5 | 0.008303 | 0.01221 | -0.003907
5.25 | 0.006838 | 0.013675 | -0.006837
5.5 | 0.001954 | 0.007326 | -0.005372
5.75 | 0.011722 | 0.011722 | 0
6 | 0.015629 | 0.016606 | -0.000977
6.25 | 0.014652 | 0.011233 | 0.003419
6.5 | 0.00928 | 0.013675 | -0.004395
6.75 | 0.008791 | 0.006838 | 0.001953
7 | 0.00928 | 0.016117 | -0.006837
7.25 | 0.006838 | 0.010256 | -0.003418
7.5 | 0.008303 | 0.011233 | -0.00293
7.75 | 0.007326 | 0.011233 | -0.003907
8 | 0.011722 | 0.013675 | -0.001953
8.25 | 0.010256 | 0.011722 | -0.001466
8.5 | 0.009768 | 0.019536 | -0.009768
8.75 | 0.017582 | 0.016117 | 0.001465
9 | 0.008303 | 0.021001 | -0.012698
9.25 | 0.01221 | 0.013187 | -0.000977
9.5 | 0.016117 | 0.012698 | 0.003419
9.75 | 0.007814 | 0.007326 | 0.000488
10 | 0.011233 | 0.016117 | -0.004884
10.25 | 0.01514 | 0.020513 | -0.005373
10.5 | 0.012698 | 0.008303 | 0.004395
10.75 | 0.004396 | 0.016606 | -0.01221
11 | 0.00928 | 0.01514 | -0.00586
11.25 | 0.006838 | 0.011722 | -0.004884
11.5 | 0.019536 | 0.022466 | -0.00293
11.75 | 0.043956 | 0.017094 | 0.026862
12 | 0.052747 | 0.026374 | 0.026373
12.25 | 0.047863 | 0.026862 | 0.021001
12.5 | 0.01221 | 0.00928 | 0.00293
12.75 | 0.047863 | 0.008791 | 0.039072
13 | 0.047863 | 0.016117 | 0.031746
13.25 | 0.064957 | 0.006838 | 0.058119
13.5 | 0.019048 | 0.014164 | 0.004884
13.75 | 0.10403 | 0.021978 | 0.082051
14 | 0.14066 | 0.01514 | 0.12552
14.25 | 0.12992 | 0.014164 | 0.11575
14.5 | 0.034676 | 0.016606 | 0.01807
14.75 | 0.23004 | 0.012698 | 0.21734
15 | 0.32967 | 0.015629 | 0.31404
15.25 | 0.29646 | 0.013187 | 0.28327
15.5 | 0.029304 | 0.021001 | 0.008303
15.75 | 0.062515 | 0.025885 | 0.03663
16 | 0.087424 | 0.02735 | 0.060074
16.25 | 0.083516 | 0.020513 | 0.063003
16.5 | 0.008303 | 0.013675 | -0.005372
16.75 | 0.026374 | 0.016117 | 0.010257
17 | 0.034188 | 0.026374 | 0.007814
17.25 | 0.023932 | 0.025885 | -0.001953
17.5 | 0.020513 | 0.029304 | -0.008791
17.75 | 0.050794 | 0.04884 | 0.001954
18 | 0.079121 | 0.062515 | 0.016606
18.25 | 0.077167 | 0.042491 | 0.034676
18.5 | 0.019536 | 0.018559 | 0.000977
18.75 | 0.022466 | 0.007814 | 0.014652
19 | 0.011722 | 0.01514 | -0.003418
19.25 | 0.007326 | 0.013675 | -0.006349
19.5 | 0.001954 | 0.01514 | -0.013186
19.75 | 0.004884 | 0.010256 | -0.005372
20 | 0.006349 | 0.013187 | -0.006838
20.25 | 0.019048 | 0.012698 | 0.00635
20.5 | 0.014164 | 0.026862 | -0.012698
20.75 | 0.014164 | 0.018071 | -0.003907
21 | 0.019048 | 0.018559 | 0.000489
21.25 | 0.016117 | 0.007814 | 0.008303
21.5 | 0.004396 | 0.003419 | 0.000977
21.75 | 0.008791 | 0.011233 | -0.002442
22 | 0.013187 | 0.019536 | -0.006349
22.25 | 0.000488 | 0.010256 | -0.009768
22.5 | 0.008303 | 0.006349 | 0.001954
22.75 | 0.010745 | 0.017094 | -0.006349
23 | 0.011233 | 0.015629 | -0.004396
23.25 | 0.00928 | 0.011233 | -0.001953
23.5 | 0.000977 | 0 | 0.000977
23.75 | 0.018559 | 0.012698 | 0.005861
24 | 0.02442 | 0.020024 | 0.004396
24.25 | 0.023443 | 0.025397 | -0.001954
24.5 | 0.020513 | 0.015629 | 0.004884
24.75 | 0.046398 | 0.007814 | 0.038584
25 | 0.054701 | 0.010745 | 0.043956
25.25 | 0.035653 | 0.013675 | 0.021978
25.5 | 0.021978 | 0.021978 | 0
25.75 | 0.0884 | 0.015629 | 0.072771
26 | 0.10745 | 0.020513 | 0.086935
26.25 | 0.10012 | 0.00928 | 0.090842
26.5 | 0.016606 | 0.013675 | 0.002931
26.75 | 0.044444 | 0.019048 | 0.025396
27 | 0.065446 | 0.014652 | 0.050794
27.25 | 0.050794 | 0.015629 | 0.035165
27.5 | 0.056654 | 0.03663 | 0.020024
27.75 | 0.39365 | 0.093285 | 0.30037
28 | 0.46496 | 0.10305 | 0.3619
28.25 | 0.40293 | 0.061538 | 0.34139
28.5 | 0.079121 | 0.01221 | 0.066911
28.75 | 0.60611 | 0.012698 | 0.59341
29 | 0.7326 | 0.011233 | 0.72137
29.25 | 0.61001 | 0.014652 | 0.59536
29.5 | 0.024908 | 0.008791 | 0.016117
29.75 | 0.014164 | 0.00928 | 0.004884
30 | 0.01221 | 0.014164 | -0.001954
30.25 | 0.025885 | 0.010745 | 0.01514
30.5 | 0.017094 | 0.011233 | 0.005861
30.75 | 0.026374 | 0.014652 | 0.011722
31 | 0.015629 | 0.017094 | -0.001465
31.25 | 0.018071 | 0.00928 | 0.008791
31.5 | 0.011233 | 0.011722 | -0.000489
31.75 | 0.009768 | 0.019536 | -0.009768
32 | 0.019048 | 0.011722 | 0.007326
32.25 | 0.010745 | 0.022466 | -0.011721
32.5 | 0.011233 | 0.01514 | -0.003907
32.75 | 0.018071 | 0.016606 | 0.001465
33 | 0.004396 | 0.01221 | -0.007814
33.25 | 0 | 0.015629 | -0.015629
33.5 | 0.021978 | 0.014164 | 0.007814
33.75 | 0.009768 | 0.007814 | 0.001954
34 | 0.018071 | 0.017094 | 0.000977
34.25 | 0.010745 | 0.003907 | 0.006838
34.5 | 0.016606 | 0.021001 | -0.004395
34.75 | 0.011233 | 0.008791 | 0.002442
35 | 0.008791 | 0.018071 | -0.00928
35.25 | 0.007326 | 0.021001 | -0.013675
35.5 | 0.018071 | 0.021001 | -0.00293
35.75 | 0.01514 | 0.014652 | 0.000488
36 | 0.017094 | 0.014164 | 0.00293
36.25 | 0.017094 | 0.012698 | 0.004396
36.5 | 0.006349 | 0.016117 | -0.009768
36.75 | 0.013675 | 0.013187 | 0.000488
37 | 0.007814 | 0.015629 | -0.007815
37.25 | 0.018071 | 0.010256 | 0.007815
37.5 | 0.008791 | 0.004884 | 0.003907
37.75 | 0.009768 | 0.009768 | 0
38 | 0.02149 | 0.01221 | 0.00928
38.25 | 0.017582 | 0.021978 | -0.004396
38.5 | 0.014164 | 0.013675 | 0.000489
38.75 | 0.01514 | 0.006838 | 0.008302
39 | 0.015629 | 0.02149 | -0.005861
39.25 | 0.008791 | 0.009768 | -0.000977
39.5 | 0.012698 | 0.020513 | -0.007815
39.75 | 0.021001 | 0.019048 | 0.001953
40 | 0.016606 | 0.020513 | -0.003907
40.25 | 0.013675 | 0.013675 | 0
40.5 | 0.017582 | 0.011233 | 0.006349
40.75 | 0.036142 | 0.004884 | 0.031258
41 | 0.047375 | 0.010745 | 0.03663
41.25 | 0.044933 | 0.011722 | 0.033211
41.5 | 0.020513 | 0.00928 | 0.011233
41.75 | 0.071306 | 0.010256 | 0.06105
42 | 0.097192 | 0.018559 | 0.078633
42.25 | 0.081074 | 0.013675 | 0.067399
42.5 | 0.03956 | 0.014164 | 0.025396
42.75 | 0.18657 | 0.019536 | 0.16703
43 | 0.25299 | 0.013675 | 0.23932
43.25 | 0.20024 | 0.011233 | 0.18901
43.5 | 0.06398 | 0.009768 | 0.054212
43.75 | 0.38828 | 0.043956 | 0.34432
44 | 0.50012 | 0.044933 | 0.45519
44.25 | 0.38632 | 0.030281 | 0.35604
44.5 | 0.028327 | 0.017582 | 0.010745
44.75 | 0.025397 | 0.009768 | 0.015629
45 | 0.018559 | 0.013675 | 0.004884
45.25 | 0.022466 | 0.01221 | 0.010256
45.5 | 0.010745 | 0.007326 | 0.003419
45.75 | 0.013675 | 0.010256 | 0.003419
46 | 0.016606 | 0.014652 | 0.001954
46.25 | 0.023932 | 0.01221 | 0.011722
46.5 | 0.022955 | 0.011722 | 0.011233
46.75 | 0.004884 | 0.009768 | -0.004884
47 | 0.016117 | 0.018071 | -0.001954
47.25 | 0.016606 | 0.02149 | -0.004884
47.5 | 0.018071 | 0.015629 | 0.002442
47.75 | 0.008303 | 0.010745 | -0.002442
48 | 0.008303 | 0.015629 | -0.007326
48.25 | 0.007326 | 0.013675 | -0.006349
48.5 | 0.009768 | 0.01514 | -0.005372
48.75 | 0.013675 | 0.00293 | 0.010745
49 | 0.013187 | 0.01221 | 0.000977
49.25 | 0.009768 | 0.014164 | -0.004396
49.5 | 0.005372 | 0.020024 | -0.014652
49.75 | 0.013187 | 0.022955 | -0.009768
50 | 0.023443 | 0.018071 | 0.005372
